| 01-04-2026 | date |  |  |
| --- | --- | --- | --- |
| HAT-2604-0001 | NO |  |  |

| Calibration certificate |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| هشام |  |  |  |  |  |  |  |  |  |  |  | Company: |
| 122358765 | Serial Number: |  | 1" |  | ts11 |  | Leica |  | Total Station |  | Instrument Type: |  |
| The following tests were carried out according to the device's instructions and guidelines The technical condition was tested and all results were good and suitable for use |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  | Test results: |  |  |
|  |  |  |  | Vertical axes |  |  |  | Horizontal axes |  |  |  |  |
|  |  |  |  | Compensator |  |  |  | Tilting |  |  |  |  |
| - We certify that the following surveying instrument has been tested and calibrated in accordance with the manufacturer's instructions and that it complies with the specifications according to all standards and criteria contained in the instructions |  |  |  |  |  |  |  |  |  |  |  |  |
| -This certificate is valid for 6 months Next Calibration 30-10-2026 |  |  |  |  |  |  |  |  |  |  |  |  |